HE/LX Analysis Software Installation Instructions

Version 6.1

The NorthEast Monitoring’s HE/LX Analysis Software is used in conjunction with any of NorthEast Monitoring’s Digital Holter Recorders and allows one to print full disclosure of a patient’s Holter recordings.

To install the software to a directory other than the default - c:\nm\ - choose the Custom option and click the Browse button to select location.

The installation directory must give you the right to create and modify all files and sub-directories in that directory. As a result, it is not recommended to use the “C:\program files” directory as a base for the installation. Additionally, if the user has limited rights, then the base directory for the installation (which defaults to c:\nm) must separately be given full read/write/modify privileges.

TO INSTALL:

- Plug software HASP-key into your computer.

- Go to www.nemon.com and download the software labeled HE/LX 6.1 install and HE/LX Archive 1.1 install from the Support > Downloads and Documents page.

- Click on the HE/LX 6.1 install file begin installation. The installation process will load the required software onto your desktop, which may or may not include: HE/LX Analysis, Adobe Reader and Visual C++ and LibreOffice.

- Next click on the HE/LX Archive 1.1 to install that.

- Install the license file that you received via email from NorthEast Monitoring.  If you do not have a file, contact Support at support@nemon.com or call the phone number listed above.

- The HE/LX 6.1 install has put a shortcut on your desktop.  Click on it to update Settings.  At this point you will want to increase the number of patients to no more than 500 and click OK.

- If you use the LX Remote tool, the c:\nm\bin\Plugins_Available folder includes files that you will need.  Copy and paste these files to the c:\nm\bin\plugins folder to run.